# APPENDIX:  Supporting documents

Document B1.1	Selection criteria for design consultants	3

Document B2.1	Design OHS review guidelines	5

Document B2.2	Process for design OHS review workshops	6

Document B2.3	Design OHS review checklist	7

Document B2.4	OHS risk prompt sheet	12

Document B3.1	Design documentation review	15

Document B4.1	OHS cost criteria	17

Document B5.1	Change management procedure	22

Document B6.1	Example contract provisions establishing specific OHS requirements for the 		construction stage	23

Document B7.1	Guidelines on setting project OHS KPIs	25

Document B7.2	Standard OHS report format	27

Document B8.1	Project OHS management plan guide	29

Document B9.1	Contractor selection checklist	31

Design and procurement stage review template	34

# Document B1.1	Selection criteria for design consultants

A final selection is made after a number of potentially suitable design consultants are identified. The table below provides guidance on making an informed decision.

## About the design company/organisation

| #### Key Aspects | #### Evidence provided? Yes/No |
| --- | --- |
| About the design company/organisation |  |
| Company OHS policy and strategic objectives |  |
| Certified AS4801 or equivalent OHS system |  |
| Commitment to and enthusiasm for OHS |  |
| Workload and resources |  |
| Relevant OHS experience (including examples of past projects) |  |
| Ability to innovate |  |
| References |  |
| Compatibility with agency’s needs |  |

## Project-specific — the design team

| #### Key Aspects | #### Evidence provided? Yes/No |
| --- | --- |
| Make up of the design team |  |
| Authority levels of team members |  |
| Logistics related to site, client and other consultants |  |
| Expertise and demonstrated competence in and commitment to safety in design |  |

## Key project personnel

| #### Key aspects | #### Evidence provided? Yes/No |
| --- | --- |
| Qualifications and experience in considering safety in design relevant to the project |  |
| Understanding the OHS project needs |  |
| Innovation, flair, commitment and enthusiasm for balancing OHS with other project objectives, for example aesthetics, quality, cost |  |
| Communication skills |  |
| References |  |
| Details and experience of any sub-contractors |  |

## Project execution

| #### Key Aspects | #### Evidence provided? Yes/No |
| --- | --- |
| Program, method and approach, that is consultation and communication with stakeholders throughout project, setting of OHS goals and targets, etc |  |
| Integration of OHS into the whole lifecycle of the project, that is design, construct, use and demolition |  |
| OHS risk management methodology, that is how will they identify, evaluate and manage OHS risk |  |
| OHS management and control procedures |  |
| Dedicated OHS resources to be applied to the project (personnel, costing etc) |  |

Completed by:

Signature

Date:

Witnessed by:

Signature

Date:

# Document B2.1	Design OHS review guidelines

## Overview

The identification of OHS hazard lifecycle of the building/structure to be constructed, including construction, occupation, maintenance and demolition /risks should involve a critical appraisal of activities involved in all stages of the. Comprehensive hazard/risk identification requires a good understanding of the working situation, whether it is during construction, use, maintenance or demolition. Pooling knowledge and experience is a key aspect of hazard/risk identification and control. It is highly recommended that input be sought from people who are directly involved at each stage, for example contractors, maintenance personnel, facilities managers and prospective occupants. The collective analysis of a group of people, with differing perspectives, is usually better than an individual, single-perspective analysis. This is because participants interact with one other, bring different viewpoints and experiences and produce a more balanced analysis of a hazard/risk.

Different projects will require different expertise and input. The relevant stakeholders who should participate in a project design OHS review should be carefully considered. Consideration also needs to be given to how the different participants to the design OHS review will work together. Participants should be sure that they fully understand the OHS objectives of the project and the management structure and contractual obligations.

Once OHS hazards/risks have been identified, the seriousness of each of these should be assessed using a robust and appropriate risk assessment method. An example of a way in which a risk assessment can be undertaken is provided in booklet 2, KMA A5. This risk management approach uses a three step process of:

- identifying the hazard/risk

- assessing the risk using a risk matrix

- determining whether further action is required based on the outcome of risk rating and any supporting information.

Where OHS risks are too high to be accepted, the design team should consider ways in which they can modify the design so that these OHS risks can be eliminated or reduced. A ‘safe’ design will reflect the practical implementation of appropriate measures to control OHS risk.

At the conclusion of the OHS design review, the OHS aspects of the design relevant to the construction of the project should be detailed fully and correctly on the design documents. Thus it is vitally important that the designer is aware of the OHS information, content and use requirements of these documents. It is important that there is clear OHS information in project documents, particularly the working drawings, and that this information is sufficiently detailed. It is helpful to consider the following questions when assessing whether this is the case.

- Is the OHS information consistent across all plans?

- Is there a better way of showing the OHS information?

- Are the dimensions complete?

- Are systems compatible (for example, can you run telecommunications in the same void as the plumbing)?

- Are the OHS specification notes on the drawings complete and accurate and adequately cross referenced?

- Have all the residual OHS risks to contractors arising as a result of non-standard design feature been included in the project documents?

# Document B2.2	Process for design OHS review workshops

The diagram below represents the step-by-step process suggested to review the design OHS aspects of the project. The risk identification part of this process is the most important of all being undertaken. If not identified a risk cannot be effectively managed. A design checklist (document B2.3) and additional risk prompts (document B2.4) have been developed to assist the facilitator and workshop participants to identify relevant risks. When assessing the risk you may choose to use the risk management methodology presented in booklet 2, KMA A5. If it is not a large scale project, workshop 1 and workshop 2 may be combined.

# Document B2.3	Design OHS review checklist

In most projects a number of different design consultants contribute to the design of the permanent structure/building to be constructed. Each consultant’s area of design responsibility should be included in the design OHS reviews. The table below provides key contractors with prompts for the various design areas that may need consideration of OHS risk and for inclusion of relevant details on project drawings.

Please note that the table is designed to be used as a guide only for identifying hazard/risks and should not be treated as an exhaustive list. Further risk prompts are available in document B2.4 – The OHS risk prompt sheet.

## Designers

### Architect/draftsperson

| Construct | Yes/No/NA | Use | Yes/No/NA | Redevelop/ demolition | Yes/No/NA |
| --- | --- | --- | --- | --- | --- |
| Proximity to other building/plant/equipment | Yes No N/A | Finishes schedule (for users) | Yes No N/A | Ability to redevelop for alternative uses/agencies | Yes No N/A |
| Main services layout | Yes No N/A | Compliance with building regulations | Yes No N/A | Proximity to buildings/plant/etc | Yes No N/A |
| Proximity to other activities | Yes No N/A | Expected passenger use (lifts) | Yes No N/A | Public protection requirements | Yes No N/A |
| Proximity to overhead/buried services | Yes No N/A | Access to risers | Yes No N/A | Vehicular movement | Yes No N/A |
| Access and vehicular movement | Yes No N/A | Finishes schedule (for maintenance/cleaning) | Yes No N/A | Pitch of roof | Yes No N/A |
| Elevations of all facades showing the characteristics and relationships between spaces | Yes No N/A | Pitch of roof (maintenance/work space) | Yes No N/A |  |  |
| Perimeter protection | Yes No N/A | Room sizes | Yes No N/A |  |  |
| Construction site layout and emergency access | Yes No N/A | Access requirements to all services and exterior of the building | Yes No N/A |  |  |
| Adjoining property protection | Yes No N/A | Pedestrian access and vehicular movement | Yes No N/A |  |  |
| Falls from heights | Yes No N/A | Future landscaping hazards (roots) | Yes No N/A |  |  |

### Engineer

| Construct | Yes/No/NA | Use | Yes/No/NA | Redevelop/ demolition | Yes/No/NA |
| --- | --- | --- | --- | --- | --- |
| Loading requirements | Yes No N/A | Acoustics | Yes No N/A | Type of reinforcement | Yes No N/A |
| Foundation design | Yes No N/A | Long-term maintenance requirements | Yes No N/A | Method of de-construction | Yes No N/A |
| Construction design/connections | Yes No N/A |  |  | Loading requirements | Yes No N/A |
| Restrictions on space for erection | Yes No N/A |  |  | Access to external areas for demolition | Yes No N/A |
| Safe means of connecting components | Yes No N/A |  |  |  |  |
| Safe handling of components | Yes No N/A |  |  |  |  |
| Effect of erection sequence on stability | Yes No N/A |  |  |  |  |
| Incorporate offsite construction | Yes No N/A |  |  |  |  |
| Build into design features that contribute to safe access and work platforms | Yes No N/A |  |  |  |  |

### Mechanical

| Construct | Yes/No/NA | Use | Yes/No/NA | Redevelop/ demolition | Yes/No/NA |
| --- | --- | --- | --- | --- | --- |
| Safe means of connecting components | Yes No N/A | Location and size of plant rooms | Yes No N/A | Isolation/disconnection | Yes No N/A |
| Safe handling of components | Yes No N/A | Nomination of type of plant | Yes No N/A | Access for removal/upgrade | Yes No N/A |
| Installation methods that generate hazardous substances | Yes No N/A | Exhaust/Intake requirements | Yes No N/A |  |  |
| Hot work | Yes No N/A | Access to services for maintenance | Yes No N/A |  |  |
|  |  | Confined spaces | Yes No N/A |  |  |
|  |  | Maintenance requirements for services | Yes No N/A |  |  |
|  |  | Heating and cooling | Yes No N/A |  |  |

### Electrical

| Construct | Yes/No/NA | Use | Yes/No/NA | Redevelop/ demolition | Yes/No/NA |
| --- | --- | --- | --- | --- | --- |
| Safe means of connecting components | Yes No N/A | Lighting internal/ external | Yes No N/A | Isolation/disconnection | Yes No N/A |
| Safe handling of components | Yes No N/A | Security | Yes No N/A | Access for removal/upgrade | Yes No N/A |
| Temporary lighting requirements | Yes No N/A | Access to services for maintenance | Yes No N/A |  |  |
| Installation methods that generate hazardous substances | Yes No N/A | Confined spaces | Yes No N/A |  |  |
| Hot work | Yes No N/A | Maintenance requirements for services | Yes No N/A |  |  |

### Other issues

### Cost and time

| Construct | Yes/No/NA | Use | Yes/No/NA | Redevelop/ demolition | Yes/No/NA |
| --- | --- | --- | --- | --- | --- |
| Expected completion times for each stage | Yes No N/A | Ongoing maintenance requirements | Yes No N/A |  |  |
| Temporary structures (scaffolding) | Yes No N/A |  |  |  |  |
| Protection structures (hoarding) | Yes No N/A |  |  |  |  |
| Security structures (hoarding) | Yes No N/A |  |  |  |  |

### Approvals

| Construct | Yes/No/NA | Use | Yes/No/NA | Redevelop/demolition | Yes/No/NA |
| --- | --- | --- | --- | --- | --- |
| Legislative restrictions on design | Yes No N/A | Legislative restrictions on design | Yes No N/A |  |  |

### Other identified risks

| Construct | Yes/No/NA | Use | Yes/No/NA | Redevelop/ demolition | Yes/No/NA |
| --- | --- | --- | --- | --- | --- |
| Effects on surrounding properties | Yes No N/A | Impact on surroundings (for example, reflective glass causing glare) | Yes No N/A |  |  |

All design consultants should be required to acknowledge any residual OHS risks arising as a result of their contribution and ensure relevant OHS information is recorded on project drawings and specifications.

All OHS risks are to be recorded in the project risk register (A5.2).

Client:

Name:

Signature:

Date:

Architect:

Name:

Signature:

Date:

Engineer:

Name:

Signature:

Date:

Mechanical:

Name:

Signature:

Date:

Electrical:

Name:

Signature:

Date:

Trade/profession:

Name:

Signature:

Date:

Trade/profession:

Name:

Signature:

Date:

By signing this document you endorse that:

- An OHS review of the design has been completed and OHS risks identified have been eliminated or reduced so far as is practical. Where OHS risks have been accepted, this should be clearly stated in the project risk register.

- All relevant OHS risks are included in the project drawings and specifications.

# Document B2.4	OHS risk prompt sheet

Below is a list of guide words to assist you in identifying hazards/risks associated with the design. These prompts can be used for the various stages of a project, ranging from possible construction safety hazards, through to maintenance safety hazards. Any risks identified from this prompt sheet should be incorporated into document B2.3—The design OHS review checklist and reflected on the project drawings, where appropriate.

Hazardous chemicals/dangerous goods

pesticides fuel storage cleaning products dangerous goods air pollution/water/waste water explosives asbestos labelling

Slips and trips

electrical cables uneven ground/finishes cable covers weather use of amusement equipment flooring design poor design of barriers poor lighting gutters/steps trees branches different flooring surfaces outdoor event access/egress hidden hazards edge protection climbing footwear

Working at height

scissor lifts safety harness scaffold abseiling winches flying systems prop zones ladders gantries rigging on top of vehicles overhead lines raised platforms appropriate certifications edge protection loading docks platforms lighting type of materials used

Accessibility

lifts ramps parking public transport signage disability egress

Site/equipment

layout signage advertising/displays traffic management safe crossings overloading site appropriateness of signage access to site exclusion zones weather emergency egress site communication storage waste

Security

site access building access vandalism

Plant

training certification personal protective equipment supervision maintenance isolation/segregation — people hand tools registered plant eg lifts, escalator

Materials handling

mechanical handling plant construction furniture fixtures and equipment precinct design functionality transport between precincts/locations and storage inaudible alarms excess weight and height method of erection

Vehicle safety

site layout forklifts accidents (rollover etc) road closure vehicle/people segregation speed refuelling/recharging locations scissor lifts — driving from height permits and certification/licensing inappropriate use of paths accessibility during emergency management loading operations — docks and people

Fire safety

evacuation plans fires — fire effects fire prevention plan — dangerous goods storage knowledge and use of equipment plant failure (air conditioning, electrical sub-station, etc) obstructing fire equipment pyrotechnics inappropriate fire fighting equipment security of fire prevention equipment isolating fire equipment/early warning appropriate location of fire equipment cutting and welding policies and procedures temporary electrical installations flammable goods lack of fire retardant

People

first aid training hours of work fatigue weather — heat, cold competency/ suitability working alone confined spaces resources cultural conflict transport

Manual handling

garbage/waste disposal trolleys waste materials

Electrical safety

power supply — no spiking, lack of continuity overloading systems power tools underground services generators earthing unauthorised access lighting lack of power boards weather protection of leads cables/height/pathways location to other equipment

Maintenance

materials nominated access lighting vibration lifting plant registration slips and trips discharges including temperature noise frequency of maintenance operational requirements eg air intake storage facilities

# Document B3.1	Design documentation review

The features below should be included in design documentation. The OHS risk issues associated with these features should be documented. This list may vary depending on the scope of the construction project and should only be used as a guide.

## Architects

- floor plans showing the details of all spaces and their uses

- details of the main cores and risers

- sections through the building showing key relationships between spaces

- elevations of all facades showing the characteristics and relationships of all components

- site layout

- workspace layout including provisions and dimensions for telecommunication, computers etc

- main services layout

- existing overhead/buried services

- separation of public from construction site

- construction site layout

- finishes schedule for all spaces

- acoustic treatments (if applicable)

- protection works

- details of additional features that contribute to safe access and working places, for example handrails, attachment points for ladders, anchors for safety harnesses etc

- other OHS risks as identified

## Engineer

- floor plan showing layout and sizes of all structural components

- key sections through the structure of the building

- sequenced construction program

- construction details including connections

- details of additional features that contribute to safe access and working places, for example areas doubling as temporary work platforms

- highlight special or unusual stability considerations

- identify the stage at which the permanent structure is self supporting

- principles of the foundation design

- schedule and specifications of all services systems and key components

- geotechnical survey

- acoustic treatment

- other OHS risks as identified

## Mechanical services

- the principles of the heating, ventilation, cooling and plumbing systems together with critical dimensions in ceiling, floor and wall voids

- use of particular materials

- the principles of the fire protection and fire alarms systems together with critical dimensions

- plant room locations, sizes and weights and any installation requirements

- type, location and size of principal service ducts and risers together with critical dimensions in ceiling, floor and wall voids

- other OHS risks as identified

## Electrical services

- the principles of lighting and power distribution, tenant and client supplies, power and lighting to common areas

- dimensions of electrical service voids

- emergency lighting details

- lighting protection

- security systems

- electrical intake and transformer with sizes and position of switch rooms along with critical dimensions

- other risks as identified

# Document B4.1	OHS cost criteria

All parties involved in the construction of a project must recognise that there are both implicit and explicit OHS costs.

Tender/contract costs: These issues and their costs, where possible, should be included in the tender documents. The checklist below provides the model client with examples of OHS items a project team should consider. These items will vary with each project and should only be used as a guide. Use the checklist to ensure that a tenderer has met client expectations by acknowledging the safety requirements of the project and has allocated appropriate costs.

## Project stage: Management cost

| OHS issue | Agency considered? Yes/No/NA | Cost ($) | Contractor considered? Yes/No/NA | Cost ($) |
| --- | --- | --- | --- | --- |
| Adequate site safety supervision | Yes No N/A |  | Yes No N/A |  |
| Experienced safety professionals | Yes No N/A |  | Yes No N/A |  |
| Adequate resources to undertake safety requirements | Yes No N/A |  | Yes No N/A |  |
| Total cost $ = |  |  | Total cost $ = |  |

## Project stage: Project costs

| OHS issue | Agency considered? Yes/No/NA | Cost ($) | Contractor considered? Yes/No/NA | Cost ($) |
| --- | --- | --- | --- | --- |
| Project specific health and safety plan | Yes No N/A |  | Yes No N/A |  |
| Inductions | Yes No N/A |  | Yes No N/A |  |
| Training | Yes No N/A |  | Yes No N/A |  |
| Subcontractor management | Yes No N/A |  | Yes No N/A |  |
| Provision for personal protective equipment | Yes No N/A |  | Yes No N/A |  |
| Monitoring and inspection program | Yes No N/A |  | Yes No N/A |  |
| Audit and performance measuring | Yes No N/A |  | Yes No N/A |  |
| Meetings and reporting | Yes No N/A |  | Yes No N/A |  |
| Incident and accident reporting | Yes No N/A |  | Yes No N/A |  |
| Adequate insurance | Yes No N/A |  | Yes No N/A |  |
| Total cost $ = |  |  | Total cost $ = |  |

## Project stage: Construction costs

| OHS issue | Agency considered? Yes/No/NA | Cost ($) | Contractor considered? Yes/No/NA |  | Cost ($) |
| --- | --- | --- | --- | --- | --- |
| Permits for example occupy footpaths, roads, etc | Yes No N/A |  | Yes No N/A |  |  |
| Notifications (letter drops to adjoining properties) | Yes No N/A |  | Yes No N/A |  |  |
| Adjoining property protection | Yes No N/A |  | Yes No N/A |  |  |
| Demolition/removal of materials | Yes No N/A |  | Yes No N/A |  |  |
| Removal of hazardous substances | Yes No N/A |  | Yes No N/A |  |  |
| Site layout (separation of people from plant/vehicles) | Yes No N/A |  | Yes No N/A |  |  |
| Traffic management | Yes No N/A |  | Yes No N/A |  |  |
| Scaffolding | Yes No N/A |  | Yes No N/A |  |  |
| Hoarding/barriers | Yes No N/A |  | Yes No N/A |  |  |
| Security | Yes No N/A |  | Yes No N/A |  |  |
| Site and perimeter lighting | Yes No N/A |  | Yes No N/A |  |  |
| Dust control | Yes No N/A |  | Yes No N/A |  |  |
| Odours/fumes | Yes No N/A |  | Yes No N/A |  |  |
| Hours of operation (there may be restrictions imposed by local authorities) | Yes No N/A |  | Yes No N/A |  |  |
| Excavation/substructure protection | Yes No N/A |  | Yes No N/A |  |  |
| Fall protection for working at heights ie handrails | Yes No N/A |  | Yes No N/A |  |  |
| Working platforms | Yes No N/A |  | Yes No N/A |  |  |
| Plant provisions | Yes No N/A |  | Yes No N/A |  |  |
| Loading/unloading provisions | Yes No N/A |  | Yes No N/A |  |  |
| Transportation considerations (wide loads etc) | Yes No N/A |  | Yes No N/A |  |  |
| Specific construction techniques | Yes No N/A |  | Yes No N/A |  |  |
| Temporary power supply (site and each floor) | Yes No N/A |  | Yes No N/A |  |  |
| Commissioning testing and certification | Yes No N/A |  | Yes No N/A |  |  |
| Total cost $ = |  |  |  | Total cost $ = |  |

Model client costs: The following provides the model client with examples of some of the OHS costs that they should allocate sufficient financial resources to. These items should be factored into the allowable budget for the project, but are not included in the tender/contract documents:

- development of contract documents

- adequate OHS resourcing

- training (as required)

- project specific safety plan

- review of reports

- onsite monitoring and control.

## Project costing

Model client project costing:	$

OHS contractor project costing:	$

Total				$

Budgeted allowance for OHS 	$

#### Acceptance of OHS project costings:

Project name/number:

Project address:

Name:

Signature:

Date:

Name:

Signature:

Date:

# Document B5.1	Change management procedure

When the full conceptual design stage has been completed, the design of the facility to be constructed is understood to have reached a state of acceptance of constructability whereby any further changes should not be permitted to the design without a formal change management process being followed.

Australian Government agencies should track the status of any design change requests through to implementation, or rejection, and should effectively assess and forecast the OHS impact of any proposed changes on the constructability, stakeholder impact and ability to achieve OHS KPIs.

A change management process should include the following steps:

## Formalised mechanism for proposing a design change

Whenever any stakeholder determines that some safety aspect of the project should be changed, that stakeholder is to submit a change proposal to the project OHS team. The change proposal should:

- identify the work process in question

- describe the aspect of the work process that the stakeholder wishes to change

- include a description of the OHS impact of the proposed change.

## Assessing the impact of the proposed design change

The change proposal should be circulated to all project stakeholders who the applicant has identified as being affected by the proposed change, along with any other stakeholders the OHS team decides should be consulted. Feedback to the project OHS team is invited on the possible OHS effects of implementing the proposed change.

## Approving or rejecting proposed changes

Once the impact of the proposed change/s has been assessed by all of relevant project stakeholders, the project OHS team should decide whether to recommend the acceptance or rejection of the proposed change. The project OHS team may reject a proposed change if it is determined that OHS risk to project participants (construction workers, maintenance personnel or facility users/occupants) would be unacceptably increased by the change.

Regardless of whether a change is approved or rejected, the following information should be recorded.

the date, description, and stakeholder submitting the proposed change

the proposed solution considered

the estimated OHS impact of the change on the proposal

the recommendation made (that is, acceptance or rejection)

if recommended for acceptance, the overall impact on OHS in the project

if recommended for rejection, the reason for rejection.

# Document B6.1	Example contract provisions establishing specific OHS requirements for the construction stage

The model client should clearly establish the OHS requirements for the contractor and these should be identified at the tender stage in the tender documentation. This will ensure that the contractor understands their OHS responsibilities well in advance of any contract being negotiated and signed. To ensure that these requirements are met throughout construction stage they should be included as part of the contract documents. If the contractor is expected to comply with the agency’s internal OHS processes, information about these processes should also be included in the construction contract documents. Below is a list of suggestions for inclusion.

## OHS responsibilities

requirements to carry out the work with the highest regard for the safety of employees and other people on the site or in the vicinity of the site

requirements to comply with all relevant statutory obligation

commitment to the model client’s safety charter (a copy of the charter is to be included in the contract documents)

allocation of resources to fulfil OHS requirements

OHS roles and responsibilities

## OHS training

commitment that employees (and others that the contractor is responsible for) have been trained in working safely and provide evidence that this has taken place

requirement to ensure that all employees (and others the contractor will be responsible for) are competent in the tasks required

requirements to attend client and site-specific inductions

## Supervision

arrangements to ensure adequate supervision of people carrying out tasks

engagement and management of subcontractors

## Communication and consultation

requirement to maintain effective consultation and participation with their employees and with you, the model client

requirement to participate in design, construction and post construction meetings

commitment to the model clients that all processes and formats forming part of the contract package will apply

acknowledgement of model client’s onsite participation throughout project

## Reporting

requirement to report data in specified formats and at specific times. Copies of report templates should be included as part of the contract package (for example change management, risk management). A list of templates should be included

nominate targets and KPIs (see document B7.1 for guidelines on setting project OHS KPIs)

requirements to regularly report OHS performance against project targets and KPIs

## OHS planning

requirement to develop and submit a project-specific OHS plan. No works will commence until the OHS plan has been reviewed and accepted by the model client based on the project and associated risks

requirement for model client to review risk assessments and safe work method statements

requirement to incorporate risks already identified into their OHS planning

## Stop work

acknowledgement of either party’s right to stop the job on safety and health grounds where necessary

model client’s provisions for enforcement action of repeat OHS breaches

## Administration

required relevant insurances

the cost of implementing the expected OHS requirements

criteria that will be used to evaluate tender response.

# Document B7.1	Guidelines on setting project OHS KPIs

OHS key performance indicators (KPIs) can vary widely in their characteristics and their utility. The following characteristics are suggested as a basis for judging the quality of an OHS performance indicator:

reliable — indicators should be based on well-established principles and be applicable over a wide range of project situations

relevant — indicators should relate to the important OHS features of the project

simple — they should not be overly complex otherwise they will be less used and take more time and effort to apply. Simple indicators can facilitate communication and feedback about OHS

direct — they should be closely linked to project OHS objectives and targets

understandable — users should know exactly what indicators represent and how to determine their value

‘practical — the information required should be easily available and well based.

## Example ‘lagging’ OHS indicators

number of fatalities

medically treatable injuries

first aid incidents

lost time injuries

total days lost

total recordable injury frequency rate (TRIFR)*

members of the public injured

low duration or severity rate and/or outstanding improvement trend

safety infringements/fines

number of accident investigations conducted

follow-up of corrective actions including application of lessons learnt.

## Example ‘leading’ OHS indicators

project incident reporting — percentage incident reports acted on by the relevant project manager

incident action tracking — the percentage of near miss incidents which have been closed out with appropriate records

site safety inspections — number by supervisors, management and/or OHS representatives completed against a pre-agreed number

management safety walks/inspections — number completed against a pre-agreed number

site safety inspections — outstanding issues identified from previous period which have been closed out

hazard identification — percentage reported rectified within the defined timeframe

risk assessments — percentage of planned risk assessments completed

site safety management walk — percentage of observations closed out

safety audits (internal/external bodies) — percentage of audits completed as identified in the OHS project plan for the project

review of audit reports — percentage of total internal/external audit reports reviewed by senior management

outstanding issues identified through safety audit — the number closed out within a defined period (period to be nominated depending on severity of breach)

sharing/communication of information — the number of toolbox talks, safety committee meetings conducted during a defined period

demonstrated use of adopting a successful idea, practice or initiative from other construction sites — the number implemented across all other construction sites

communication with the public — percentage of notifications completed as identified during the course of the project

inductions — percentage of employees who have received site-specific OHS induction

safety training — number of employees/managers who have received OHS training commensurate with their OHS responsibilities

contracts — percentage of contracts with OHS specific clauses

design changes — percentage of design changes made to address identified OHS issues over the life of the project

The Total Recordable Injury Frequency Rate represents the total number of fatalities and injuries resulting in lost time, restricted work duties or medical-treatment per million work hours.

# Document B7.2	Standard OHS report format

Reporting period:

Site/project details:

Workgroup/contractor details:

Task/s being performed:

For your reference Document B7.2 in Booklet 3 has a worked example of reporting of project OHS KPIs back to the client.

| ### KPI description | ### Outcome | ### Target/measure | ### Results | ### Compliance achieved? ### Yes/No |
| --- | --- | --- | --- | --- |
|  |  |  |  | Yes No |
|  |  |  |  | Yes No |
|  |  |  |  | Yes No |
|  |  |  |  | Yes No |
|  |  |  |  | Yes No |

Submitted by

Name:

Signature:

Date:

Position:

# Document B8.1	Project OHS management plan guide

Provided below are some suggested content for the Project OHS Management Plan. However, it is recommended that agencies devise their own template, identifying relevant information to be included and leaving space for the construction contractor to respond. This will provide you standardised plans and enable easier comparison of prospective contractors’ OHS management planning and processes. The requirements of each project will differ. Depending on the specific OHS risks, additional information may need to be sought.

## Contractor profiles

company/business name

street address

postal address

contact person (including phone number, mobile number, fax, email)

## Project management and leadership

project details, such as address, work being undertaken, etc

OHS roles and responsibilities

OHS objectives and accountabilities for key positions

how agency initiatives will be integrated into contractor program

a project schedule that includes provisions for OHS

## Training

safety induction details relevant to site/project

the allocation of adequate resources/facilities to conduct OHS training

a training needs analysis specific to the project

how training records will be reviewed, maintained and stored for the project

## Design controls

details on how design changes will be undertaken and recorded. Reference to the agency change management process should be made

OHS considerations with purchase/operations of plant, equipment and supplies

controls to ensure all plant and equipment on site is safe and compliant

## Risk management

description of how hazards will be identified and risks assessed during the contract

details on how the agency’s risk management processes and risk register will be integrated into the contractors procedures

## Emergency procedures

site-specific emergency plan. Note: the contractor should identify what procedures will be used during the course of their contract. Clarification should be sought regarding the details/type of emergency plan, for example does the plan only cover response or is it a full emergency management plan that includes preparation, response and recovery. An emergency response plan may not cover the statutory requirements of some states

identification of specific equipment required for the contract

testing and reviewing of emergency plan

site security provisions

contact details in the event of an emergency (including after hours details)

## Inspections and audits

audit program

inspection program

environmental monitoring program based on project, site conditions, adjoining property, etc

## Work procedures/statements

details of existing Safe Work Method Statements (SWMS) and their relationship to the contract

acknowledgement and commitment to undertaking any new SWMS as identified

traffic management and site layout details

work permit processes

## Consultation and communication

how OHS information will be communicated to all relevant stakeholders and how they intend to identify who the relevant stakeholders are

what methods of communication will be employed throughout the contract and the stakeholder involvement

enforcement provisions for non-compliances/breaches/dangerous acts

details of training and competency requirements

targets and reporting of OHS

communications plan applicable to surrounding properties

## Incident reporting and investigation

describe how incidents will be reported and investigated during the contract

acknowledgement and inclusion of the agency in incident investigations

details on the processes/procedures relating to the management of incidents including proactive and reactive processes

details on the processes/procedures relating to the management of injury/illness

details of the first aid program

## Subcontractor OHS management

roles and responsibilities of subcontractor to principal contractor

subcontractor training requirements

## Construction costs

acknowledgement of and allocation of appropriate resources for effective OHS implementation throughout the contract. Refer to document B4.1 — OHS cost criteria.

## Documentation

how and where records will be kept relating to the dealings and operations associated with the contract.

# Document B9.1	Contractor selection checklist

To aid in the selection of a contractor the following checklist has been developed. The checklist is not exhaustive and particular attention should be paid to project specific OHS issues.

## Contractor details

Company/business name:

Street address:

Postal address:

Contact person:

Phone:

Mobile:

Fax:

Email:

Brief description of contract:

Duration of contract: From: To:

## Insurance Requirements

| Insurance requirement | Not required | Required | Sighted | Suitable coverage* | Expiry date | Policy number |
| --- | --- | --- | --- | --- | --- | --- |
| Workers compensation |  |  |  |  |  |  |
| Professional Indemnity |  |  |  |  |  |  |
| Public/and or product liability |  |  |  |  |  |  |

## Contractor project-specific OHS management

| Criteria | Sighted? Yes/No | Comments |
| --- | --- | --- |
| OHS policy and procedures - contractor acknowledges at director level the client’s strong commitment to OHS and is committed to achieve the requirements of the OHS contract specifications - inclusion of model client participation of site safety monitoring program - contractor demonstrates commitment to OHS charter - confirmation that the contractor’s OHS policy and procedures are of a standard not less than those required and expected for the project - contractor confirms that the same standard will be required for subcontractors - contractor confirms an understanding of and commitment to the client’s procedures and relevant legislative requirements - allocation of appropriate resources, for example personnel, equipment, etc - allocation of OHS roles and responsibilities - injury management - OHS policy and procedures (continued) - First Aid procedures - procedures for hazard identification - procedures for assessing risk of hazards - procedures outlining use of hierarchy of controls for risk minimisation and review |  |  |
| OHS training - all contract staff (and those responsible for them) are adequately trained and are competent to undertake the required work/s - make available training and qualification records on request - a commitment to attend model client project inductions - contractor project site-specific inductions program including agency residual risks - includes a process for inducting subcontractors onto project site - process for identifying and delivering training needs during the project |  |  |
| Reporting - ensure contractor is committed to the model client’s templates, that is change management, risk management, any other documents nominated in the contract specifications - details on how health and safety performance will be monitored during works (including inspections and audits) - procedures on reporting project wide OHS performance - incident reporting and investigations (model client may require involvement in investigations) - acknowledgement of and commitment to review of risk register prior to commencement of works |  |  |
| Enforcement and stop work - understanding that any infringements of law, regulations or safe operating standards are to be remedied by the contractor - understanding of the model client’s right to stop work until any unsafe act or situation has been rectified - understanding of enforcement provisions due to infringements of OHS requirements - process for enforcing site safety rules and dealing with non-conformance |  |  |
| OHS planning - project-specific OHS plan - identification of the nominated senior manager with OHS responsibilities - records the responsible person/s for onsite OHS and their responsibilities - copy of current OHS policy - procedures for design risk assessment - process for incorporating and communicating design changes during project life - acknowledgement of model client residual risks - site-specific emergency management plan, as well as First Aid procedures - details of policy for use of plant, materials and substances used in the project |  |  |
| Communication and consultation - process for ensuring subcontractors are involved in developing SWMS, or are inducted into head contractor SWMS - procedures for consultation on OHS during project life |  |  |
| Administration - appropriate funds have been allocated for effective OHS implementation - details of management structure and key staff with roles and responsible for safety |  |  |

## Evaluation and sign off

Evaluation and/or comment:

Submitted by:

Name:

Signature:

Date:

Position:

# Stage Review

# Design and procurement stage review template

This stage review template can be used to verify that the design and procurement stage KMAs have been implemented, before proceeding to the next project stage: construction. Where appropriate, outstanding actions in relation to the KMAs can be recorded.

## Design and procurement stage review

| ## B1 Select safe designers | ## Assessment | ## Actions |
| --- | --- | --- |
| - selection decisions based on OHS competence/performance |  |  |

| ## B2 Conduct design OHS reviews | ## Assessment | ## Actions |
| --- | --- | --- |
| - design OHS review conducted - risk mitigation design changes recorded |  |  |

| ## B3 Review design documentation | ## Assessment | ## Actions |
| --- | --- | --- |
| - design documents have recorded appropriate OHS issues and information about residual risks |  |  |

| ## B4 Review project cost | ## Assessment | ## Actions |
| --- | --- | --- |
| - cost estimates, with comprehensive OHS-related costs, prepared for the assessment and comparison of contractors’ bids |  |  |

| ## B5 Implement change management process | ## Assessment | ## Actions |
| --- | --- | --- |
| - change management process implemented with full procedure documentation - all design changes comply with the change management procedures |  |  |

| ## B6 Include OHS in contract documents | ## Assessment | ## Actions |
| --- | --- | --- |
| - all construction contracts contain specific OHS clauses |  |  |

| ## B7 Select project OHS targets and KPIs | ## Assessment | ## Actions |
| --- | --- | --- |
| - KPI performance against agency targets - completeness and consistency of reporting against KPIs |  |  |

| ## B8 Specify how OHS is to be addressed in tenders | ## Assessment | ## Actions |
| --- | --- | --- |
| - all tenders contain complete, detailed, OHS information in a standard format |  |  |

| ## B9 Select safe contractor | ## Assessment | ## Actions |
| --- | --- | --- |
| - weight of consideration of OHS against other tender evaluation criteria (ensuring safety has been priced appropriately) |  |  |

Further information

This booklet is the third in a series about clients promoting safe construction. Further information about the Model Client Framework is available from the Office of the Federal Safety Commissioner.

FSC Assist Line: 1800 652 500

Internet: www.fsc.gov.au

Email: ofsc@employment.gov.au

ISBN (set) 978-0-642-32687-4 (print)

978-0-642-32693-5 (online)

ISBN 978-0-642-32651-5 (print)

978-0-642-32657-7 (online)

© Commonwealth of Australia 2008

This work is copyright. You may download, display, print and reproduce this material in unaltered form only (retaining this notice) for your personal, non-commercial use or use in your organisation. Apart from any use as permitted under the Copyright Act 1968, all other rights are reserved.

The Australian Government, its employees, officers and agents do not accept any liability of the results of any action taken in reliance upon, based on or in connection with this document. To the extent legally possible, the Australian Government, its employees, officers and agents, disclaim all liability arising by reason of any breach of any duty in tort (including negligence and negligent misstatement) or as a result of any errors and omissions contained in this document.

Acknowledgements

The authors would like to acknowledge that the project process map is based upon A Generic Guide to the Design and Construction Process Protocol developed by Kagioglou et al. (1998), The University of Salford, UK. Boxed and shaded descriptions of project phases are quoted directly from this Protocol. The Office of the Federal Safety Commissioner would like to thank Dr Helen Lingard, Dr Nick Blismas, Ms Tracy Cooke and Mr David Jellie from the School of Property, Construction and Project Management, RMIT University, who contributed to the development of this resource.